{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["E.3单位工程招标控制价汇总表","F.1分部分项工程量清单与计价表","F.4总价措施项目清单与计价表","F.1单价措施项目清单与计价表","G.1其他项目清单与计价汇总表","H 规费、税金项目清单与计价表","主要材料设备价格表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"E.3单位工程招标控制价汇总表","index":0,"n_rows":25,"n_cols":7,"rows_kept":25,"merged":[[0,0,0,6],[1,1,1,3],[1,4,1,5],[2,0,2,1],[2,3,2,4],[2,5,2,6],[3,0,3,1],[3,3,3,4],[3,5,3,6],[4,0,4,1],[4,3,4,4],[4,5,4,6],[5,0,5,1],[5,3,5,4],[5,5,5,6],[6,0,6,1],[6,3,6,4],[6,5,6,6],[7,0,7,1],[7,3,7,4],[7,5,7,6],[8,0,8,1],[8,3,8,4],[8,5,8,6],[9,0,9,1],[9,3,9,4],[9,5,9,6],[10,0,10,1],[10,3,10,4],[10,5,10,6],[11,0,11,1],[11,3,11,4],[11,5,11,6],[12,0,12,1],[12,3,12,4],[12,5,12,6],[13,0,13,1],[13,3,13,4],[13,5,13,6],[14,0,14,1],[14,3,14,4],[14,5,14,6],[15,0,15,1],[15,3,15,4],[15,5,15,6],[16,0,16,1],[16,3,16,4],[16,5,16,6],[17,0,17,1],[17,3,17,4],[17,5,17,6],[18,0,18,1],[18,3,18,4],[18,5,18,6],[19,0,19,1],[19,3,19,4],[19,5,19,6],[20,0,20,1],[20,3,20,4],[20,5,20,6],[21,0,21,1],[21,3,21,4],[21,5,21,6],[22,0,22,1],[22,3,22,4],[22,5,22,6],[23,0,23,1],[23,3,23,4],[23,5,23,6],[24,0,24,2],[24,3,24,4],[24,5,24,6]],"flags":["formulas_cached_only"]}
["单位工程招标控制价汇总表"]
["工程名称:","环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段：",null,"第1页 共1页"]
["序号",null,"汇总内容","金额(元)",null,"其中：暂估价(元)"]
["1",null,"分部分项工程费",{"v":86697.8,"d":"86697.80"},null,""]
["1.1",null,"环境工程技术一体化实训基地建设项目-环境改造部分",{"v":86697.8,"d":"86697.80"},null,""]
["2",null,"措施项目费",2941.71,null,""]
["2.1",null,"绿色施工安全防护措施费",2941.71,null,""]
["2.2",null,"其他措施项目费","",null,""]
["3",null,"其他项目费",{"v":1584,"d":"1584.00"},null,""]
["3.1",null,"暂列金额","",null,""]
["3.2",null,"暂估价","",null,""]
["3.3",null,"计日工","",null,""]
["3.4",null,"总承包服务费","",null,""]
["3.5",null,"索赔费用","",null,""]
["3.6",null,"现场签证费用","",null,""]
["3.7",null,"预算包干费",{"v":1584,"d":"1584.00"},null,""]
["3.8",null,"工程优质费","",null,""]
["3.9",null,"消纳费","",null,""]
["3.10",null,"其他费用","",null,""]
["4",null,"规费","",null,""]
["5",null,"税前工程造价",91223.51,null,""]
["6",null,"增值税销项税额",8210.12,null,""]
["7",null,"工程造价",99433.63,null,""]
["8",null,"其中：人工费",20452.36,null,""]
["招标控制价合计",null,null,99433.63,null,""]

{"sheet":"F.1分部分项工程量清单与计价表","index":1,"n_rows":49,"n_cols":10,"rows_kept":49,"merged":[[0,0,0,9],[1,0,1,1],[1,2,1,4],[1,5,1,7],[1,8,1,9],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,3,4],[2,5,3,5],[2,6,3,6],[2,7,2,9],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,0,16,9],[18,0,18,9],[19,0,19,1],[19,2,19,4],[19,5,19,7],[19,8,19,9],[20,0,21,0],[20,1,21,2],[20,3,21,3],[20,4,21,4],[20,5,21,5],[20,6,21,6],[20,7,20,9],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[33,1,33,2],[34,0,34,9],[36,0,36,9],[37,0,37,1],[37,2,37,4],[37,5,37,7],[37,8,37,9],[38,0,39,0],[38,1,39,2],[38,3,39,3],[38,4,39,4],[38,5,39,5],[38,6,39,6],[38,7,38,9],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[48,0,48,9]],"flags":["formulas_cached_only"]}
["分部分项工程量清单与计价表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段:",null,null,"第1页, 共3页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量","金 额 （元）"]
[{"$nulls":7},"综合单价","合价","其中：\n暂估价"]
["","",null,"环境工程技术一体化实训基地建设项目-环境改造部分","","","","","",""]
["","",null,"拆除工程","","","","","",""]
["1","011606003001",null,"天棚拆除","1、天棚饰面拆除 金属龙骨 其他装饰面\n2、拆除废料外运 人工装自卸汽车运 10km","m2","205.030",{"v":18.3,"d":"18.30"},3752.05,""]
["2","011606002001",null,"墙面拆除","1、墙柱面拆除 金属龙骨\n2、拆除废料外运 人工装自卸汽车运 10km","m2","228.940",16.51,{"v":3779.8,"d":"3779.80"},""]
["3","011606001001",null,"地面拆除","1、胶地板拆除\n2、拆除废料外运 人工装自卸汽车运 10km","m2","205.030",8.65,1773.51,""]
["4","011610002001",null,"铝合金窗拆除","1、门窗拆除(整樘) 金属\n2、拆除废料外运 人工装自卸汽车运 10km","m2","12.300",{"v":67.4,"d":"67.40"},829.02,""]
["5","011610002002",null,"铝合金窗切割","切割铝合金窗户，并修复剩余部分","项","1.000",{"v":800,"d":"800.00"},{"v":800,"d":"800.00"},""]
["6","011615001001",null,"开门洞","拆除室外墙体混凝土预制板；包含废土清除及运输费","m3","0.830",630.57,523.37,""]
["7","011610001001",null,"房门拆除","1、门窗拆除(整樘) 木质\n2、拆除废料外运 人工装自卸汽车运 10km","m2","7.300",34.66,253.02,""]
["8","011601001001",null,"设备拆除","拆除室内原设备，包含舞蹈把杆、窗帘、教学多媒体设备等","项","1.000",{"v":1200,"d":"1200.00"},{"v":1200,"d":"1200.00"},""]
["","",null,"外墙工程","","","","","",""]
["","",null,"本页小计","","","","",12910.77,""]
[""]
[]
["分部分项工程量清单与计价表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段:",null,null,"第2页, 共3页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量","金 额 （元）"]
[{"$nulls":7},"综合单价","合价","其中：\n暂估价"]
["9","010402001001",null,"修补墙体","1、蒸压灰砂砖外墙 墙体厚度 17.5cm\n2、各种墙面15+5mm 水泥石灰砂浆底 水泥砂浆面 外墙","m2","8.100",130.93,1060.53,""]
["10","010301001001",null,"预制桩","混凝土预制桩","条","2.000",177.08,354.16,""]
["11","010802004001",null,"不锈钢门","1680×2350mm 不锈钢双开防盗门，包含门框、防盗门锁","m2","11.844",1384.65,16399.79,""]
["12","011204003001",null,"外墙马赛克","1、镶贴马赛克 白水泥膏 墙面墙裙","m2","8.300",94.25,782.28,""]
["13","010507007001",null,"窗檐制安","西侧外墙窗檐延续加长，尺寸7900×450mm，含钢筋、模板","m2","3.600",{"v":2000,"d":"2000.00"},{"v":7200,"d":"7200.00"},""]
["14","011102003001",null,"斜坡地面","1、楼地面水泥砂浆找平层 混凝土或硬基层上 30mm","m2","3.500",{"v":24.6,"d":"24.60"},{"v":86.1,"d":"86.10"},""]
["15","010401001001",null,"砖砌斜坡","1、砖基础","m3","0.432",470.33,203.18,""]
["16","010807001001",null,"窗及窗罩翻新","窗及窗罩翻新","项","1.000",{"v":1800,"d":"1800.00"},{"v":1800,"d":"1800.00"},""]
["","",null,"室内修缮工程","","","","","",""]
["17","011406001001",null,"天花油漆","1、成品腻子粉(一般型)Y型 天棚面 满刮2遍\n2、乳胶漆底油1遍面油1遍 抹灰面 天棚面","m2","205.030",34.37,7046.88,""]
["18","011406001002",null,"墙面油漆","1、成品腻子粉(一般型)Y型 墙面 满刮2遍\n2、乳胶漆底油1遍面油1遍 ","m2","325.240",27.82,9048.18,""]
["","",null,"本页小计","","","","",{"v":43981.1,"d":"43981.10"},""]
[""]
[]
["分部分项工程量清单与计价表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段:",null,null,"第3页, 共3页"]
["序号","项目编号",null,"项目名称","项目特征描述","计量\n单位","工程量","金 额 （元）"]
[{"$nulls":7},"综合单价","合价","其中：\n暂估价"]
["19","010903002001",null,"墙面防水","1、聚合物水泥(JS)防水涂料 平面 1.5mm厚","m2","58.000",43.95,{"v":2549.1,"d":"2549.10"},""]
["20","010904002001",null,"地面防水","1、单组份聚氨酯涂膜防水 平面 1.5mm厚","m2","205.030",47.82,9804.53,""]
["21","011101005001",null,"环氧地坪","1、环氧自流平地面 厚度0.2+1+1mm 平地面","m2","205.030",52.29,10721.02,""]
["22","010801001001",null,"木门","700×2350mm木质房门安装，含门锁、五金","m2","3.290",{"v":650,"d":"650.00"},{"v":2138.5,"d":"2138.50"},""]
["23","011105004001",null,"塑料板踢脚线","1、PVC踢脚线 8mm","m2","8.200",137.38,1126.52,""]
["24","010810001001",null,"窗帘","遮光卷帘","m2","42.000",82.53,3466.26,""]
["","",null,"本页小计","","","","",29805.93,""]
["","",null,"合计","","","","",{"v":86697.8,"d":"86697.80"},""]
[""]

{"sheet":"F.4总价措施项目清单与计价表","index":2,"n_rows":15,"n_cols":8,"rows_kept":15,"merged":[[0,0,0,7],[1,0,1,1],[1,3,1,5],[1,6,1,7],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,0,14,7]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）","标段：",null,null,"第1页, 共1页"]
["序 号","项目名称",null,null,"计算基础","费率(%)",null,"金额（元）"]
["1","绿色施工安全防护措施费",null,null,"","",null,""]
["1.1","按系数计算的其他绿色施工安全防护措施费",null,null,"","",null,""]
["1.1.1","按系数计算的绿色施工安全防护措施费(包括绿色施工、临时设施、安全施工和用工实名管理)",null,null,"分部分项人工费+分部分项机具费",{"v":13,"d":"13.000"},null,2941.71]
["","小计",null,null,"","",null,2941.71]
["","小计",null,null,"","",null,2941.71]
["2","其他措施项目费",null,null,"","",null,""]
["2.1","文明工地增加费",null,null,"分部分项人工费+分部分项机具费","",null,""]
["2.2","夜间施工增加费",null,null,"夜间施工人工费",{"v":20,"d":"20.000"},null,""]
["2.3","赶工措施费",null,null,"(1-GGXS)*(QRG+QJX)",{"v":30,"d":"30.000"},null,""]
["","小计",null,null,"","",null,""]
["","合  计",null,null,"","",null,2941.71]
[""]

{"sheet":"F.1单价措施项目清单与计价表","index":3,"n_rows":50,"n_cols":11,"rows_kept":50,"merged":[[0,0,0,10],[1,0,1,1],[1,2,1,4],[1,5,1,7],[1,8,1,10],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,3,5],[2,6,3,6],[2,7,3,8],[2,9,2,10],[4,1,4,2],[4,4,4,5],[4,7,4,8],[5,1,5,2],[5,4,5,5],[5,7,5,8],[6,1,6,2],[6,4,6,5],[6,7,6,8],[7,1,7,2],[7,4,7,5],[7,7,7,8],[8,1,8,2],[8,4,8,5],[8,7,8,8],[9,1,9,2],[9,4,9,5],[9,7,9,8],[10,1,10,2],[10,4,10,5],[10,7,10,8],[11,1,11,2],[11,4,11,5],[11,7,11,8],[12,1,12,2],[12,4,12,5],[12,7,12,8],[13,1,13,2],[13,4,13,5],[13,7,13,8],[14,1,14,2],[14,4,14,5],[14,7,14,8],[15,1,15,2],[15,4,15,5],[15,7,15,8],[16,1,16,2],[16,4,16,5],[16,7,16,8],[17,1,17,2],[17,4,17,5],[17,7,17,8],[18,1,18,2],[18,4,18,5],[18,7,18,8],[19,1,19,2],[19,4,19,5],[19,7,19,8],[20,1,20,2],[20,4,20,5],[20,7,20,8],[21,1,21,2],[21,4,21,5],[21,7,21,8],[22,1,22,2],[22,4,22,5],[22,7,22,8],[23,1,23,2],[23,4,23,5],[23,7,23,8],[24,1,24,2],[24,4,24,5],[24,7,24,8],[25,1,25,2],[25,4,25,5],[25,7,25,8],[26,1,26,2],[26,4,26,5],[26,7,26,8],[27,1,27,2],[27,4,27,5],[27,7,27,8],[28,1,28,2],[28,4,28,5],[28,7,28,8],[29,1,29,2],[29,4,29,5],[29,7,29,8],[30,0,30,10],[32,0,32,10],[33,0,33,1],[33,2,33,4],[33,5,33,7],[33,8,33,10],[34,0,35,0],[34,1,35,2],[34,3,35,3],[34,4,35,5],[34,6,35,6],[34,7,35,8],[34,9,34,10],[36,1,36,2],[36,4,36,5],[36,7,36,8],[37,1,37,2],[37,4,37,5],[37,7,37,8],[38,1,38,2],[38,4,38,5],[38,7,38,8],[39,1,39,2],[39,4,39,5],[39,7,39,8],[40,1,40,2],[40,4,40,5],[40,7,40,8],[41,1,41,2],[41,4,41,5],[41,7,41,8],[42,1,42,2],[42,4,42,5],[42,7,42,8],[43,1,43,2],[43,4,43,5],[43,7,43,8],[44,1,44,2],[44,4,44,5],[44,7,44,8],[45,1,45,2],[45,4,45,5],[45,7,45,8],[46,1,46,2],[46,4,46,5],[46,7,46,8],[47,1,47,2],[47,4,47,5],[47,7,47,8],[48,1,48,2],[48,4,48,5],[48,7,48,8],[49,0,49,10]],"flags":["formulas_cached_only"]}
["单价措施项目清单与计价表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段：",null,null,"第1页, 共2页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":9},"综合单价","合价"]
["1","AQFHWMSG",null,"绿色施工安全防护措施费","",null,"","",null,"",""]
["1.1","AZMJSCSF",null,"按子目计算的绿色施工安全防护措施费项目","",null,"","",null,"",""]
["1.1.1","JSJ",null,"综合脚手架","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["1.1.2","KJSJAQDBHDLDB",null,"靠脚手架安全挡板和独立挡板","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["1.1.3","MMSAQW",null,"密目式安全网","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["1.1.4","WNLBZB",null,"围尼龙编织布","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["1.1.5","MBZC001",null,"模板的支架","",null,"t","1.000",null,"",""]
["1.1.6","SGXCWDHLSZDWD001",null,"施工现场围挡和临时占地围挡","",null,"项","1.000",null,"",""]
["1.1.7","SGWDZM001",null,"施工围档照明","",null,"项","1.000",null,"",""]
["1.1.8","LSGGJTD001",null,"临时钢管架通道","",null,"项","1.000",null,"",""]
["1.1.9","粤011701014001",null,"独立安全挡板","",null,"m2","1.000",null,"",""]
["1.1.10","DZSBJC001",null,"吊装设备基础","",null,"项","1.000",null,"",""]
["1.1.11","FCJZLSSGFHP001",null,"防尘降噪绿色施工防护棚","",null,"m2","1.000",null,"",""]
["1.1.12","SGBD001",null,"施工便道","",null,"m","1.000",null,"",""]
["1.1.13","YBYL001",null,"样板引路","",null,"项","1.000",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["2","QTCSF",null,"其他措施项目费","",null,"","",null,"",""]
["2.1","HNTMBJZJ",null,"混凝土模板及支架(撑)","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["2.2","CZYS",null,"垂直运输","",null,"","",null,"",""]
["","",null,"本页小计","",null,"","",null,"",""]
[""]
[]
["单价措施项目清单与计价表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段：",null,null,"第2页, 共2页"]
["序号","项目编码",null,"项目名称","项目特征描述",null,"计量\n单位","工程量",null,"金额（元）"]
[{"$nulls":9},"综合单价","合价"]
["","",null,"小计","",null,"","",null,"",""]
["2.3","CPBHGCF",null,"成品保护工程费","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["2.4","SGPSJS",null,"施工排水、降水","",null,"","",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["2.5","011707004001",null,"二次搬运","",null,"项","1.000",null,"",""]
["2.6","011707005001",null,"冬雨季施工","",null,"项","1.000",null,"",""]
["2.7","011707006001",null,"地上、地下设施、建筑物的临时保护设施","",null,"项","1.000",null,"",""]
["2.8","011707007001",null,"已完工程及设备保护","",null,"项","1.000",null,"",""]
["2.9","CSQTFY001",null,"其他费用","",null,"项","1.000",null,"",""]
["","",null,"小计","",null,"","",null,"",""]
["","",null,"本页小计","",null,"","",null,"",""]
["","",null,"合  计","",null,"","",null,"",""]
[""]

{"sheet":"G.1其他项目清单与计价汇总表","index":4,"n_rows":16,"n_cols":8,"rows_kept":16,"merged":[[0,0,0,7],[1,0,1,1],[1,2,1,4],[1,5,1,6],[2,1,2,2],[2,4,2,5],[2,6,2,7],[3,1,3,2],[3,4,3,5],[3,6,3,7],[4,1,4,2],[4,4,4,5],[4,6,4,7],[5,1,5,2],[5,4,5,5],[5,6,5,7],[6,1,6,2],[6,4,6,5],[6,6,6,7],[7,1,7,2],[7,4,7,5],[7,6,7,7],[8,1,8,2],[8,4,8,5],[8,6,8,7],[9,1,9,2],[9,4,9,5],[9,6,9,7],[10,1,10,2],[10,4,10,5],[10,6,10,7],[11,1,11,2],[11,4,11,5],[11,6,11,7],[12,1,12,2],[12,4,12,5],[12,6,12,7],[13,1,13,2],[13,4,13,5],[13,6,13,7],[14,1,14,2],[14,4,14,5],[14,6,14,7],[15,0,15,2],[15,4,15,5],[15,6,15,7]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段:",null,"第1页, 共1页"]
["序号","项目名称",null,"金额(元)","结算金额(元)",null,"备注"]
["1","暂列金额",null,"","",null,""]
["2","暂估价",null,"","",null,""]
["2.1","材料暂估价",null,"","",null,""]
["2.2","专业工程暂估价",null,"","",null,""]
["3","计日工",null,"","",null,""]
["4","总承包服务费",null,"","",null,""]
["5","索赔费用",null,"","",null,""]
["6","现场签证费用",null,"","",null,""]
["7","预算包干费",null,{"v":1584,"d":"1584.00"},"",null,"按分部分项的人工费与施工机具费之和的7.00%计算"]
["8","工程优质费",null,"","",null,"市级质量奖按4.5%计算；省级质量奖7.5%计算；国家级质量奖12%计算；"]
["9","消纳费",null,"","",null,"根据“穗建造价〔2019〕53号”，建筑垃圾处置企业(单位)收取的消纳费列入其他项目费用中，按照市场、工程情况预估，列明单价与工程量。"]
["10","其他费用",null,"","",null,""]
["总计",null,null,{"v":1584,"d":"1584.00"},"",null,""]

{"sheet":"H 规费、税金项目清单与计价表","index":5,"n_rows":7,"n_cols":8,"rows_kept":7,"merged":[[0,0,0,7],[1,0,1,1],[1,2,1,4],[1,5,1,6],[2,1,2,2],[2,4,2,5],[3,1,3,2],[3,4,3,5],[4,1,4,2],[4,4,4,5],[5,0,5,5],[6,0,6,3],[6,4,6,7]],"flags":["formulas_cached_only"]}
["规费、税金项目清单与计价表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",null,null,"标段:",null,"第1页, 共1页"]
["序号","项目名称",null,"计算基础","计算基数",null,"计算费率(%)","金额(元)"]
["1","规费",null,"","",null,"",""]
["2","增值税销项税额",null,"税前工程造价",{"v":91223.51,"d":"91223.510"},null,9,8210.12]
["合计",{"$nulls":5},"",8210.12]
["编制人（造价人员）：",{"$nulls":3},"复核人（造价工程师）："]

{"sheet":"主要材料设备价格表","index":6,"n_rows":51,"n_cols":8,"rows_kept":51,"merged":[[0,0,0,7],[1,0,1,1],[1,2,1,5],[1,6,1,7],[2,1,2,2],[2,5,2,6],[3,1,3,2],[3,5,3,6],[4,1,4,2],[4,5,4,6],[5,1,5,2],[5,5,5,6],[6,1,6,2],[6,5,6,6],[7,1,7,2],[7,5,7,6],[8,1,8,2],[8,5,8,6],[9,1,9,2],[9,5,9,6],[10,1,10,2],[10,5,10,6],[11,1,11,2],[11,5,11,6],[12,1,12,2],[12,5,12,6],[13,1,13,2],[13,5,13,6],[14,1,14,2],[14,5,14,6],[15,1,15,2],[15,5,15,6],[16,1,16,2],[16,5,16,6],[17,1,17,2],[17,5,17,6],[18,1,18,2],[18,5,18,6],[19,1,19,2],[19,5,19,6],[20,1,20,2],[20,5,20,6],[21,1,21,2],[21,5,21,6],[22,1,22,2],[22,5,22,6],[23,1,23,2],[23,5,23,6],[24,1,24,2],[24,5,24,6],[25,1,25,2],[25,5,25,6],[26,1,26,2],[26,5,26,6],[27,1,27,2],[27,5,27,6],[28,1,28,2],[28,5,28,6],[29,1,29,2],[29,5,29,6],[30,1,30,2],[30,5,30,6],[31,1,31,2],[31,5,31,6],[32,1,32,2],[32,5,32,6],[33,1,33,2],[33,5,33,6],[34,1,34,2],[34,5,34,6],[35,0,35,7],[37,0,37,7],[38,0,38,1],[38,2,38,5],[38,6,38,7],[39,1,39,2],[39,5,39,6],[40,1,40,2],[40,5,40,6],[41,1,41,2],[41,5,41,6],[42,1,42,2],[42,5,42,6],[43,1,43,2],[43,5,43,6],[44,1,44,2],[44,5,44,6],[45,1,45,2],[45,5,45,6],[46,1,46,2],[46,5,46,6],[47,1,47,2],[47,5,47,6],[48,1,48,2],[48,5,48,6],[49,1,49,2],[49,5,49,6],[50,0,50,7]],"flags":["formulas_cached_only"]}
["主要材料设备价格表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",{"$nulls":3},"第1页 共2页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊要求","单位",null,"不含税编制价(元)"]
["1","00010003",null,"机上人工","","工日",null,{"v":234.6,"d":"234.60"}]
["2","00010010",null,"人工费","","元",null,1.02]
["3","03010215",null,"木螺钉 M3.5×22～25","","十套",null,0.21]
["4","03019021",null,"圆钉 50～75","","kg",null,3.54]
["5","03134011",null,"水砂纸","","张",null,0.77]
["6","03135270",null,"电焊条","","kg",null,4.29]
["7","03213001",null,"铁件 综合","","kg",null,4.84]
["8","04010015",null,"复合普通硅酸盐水泥","P.C 32.5","t",null,317.14]
["9","04010045",null,"白色硅酸盐水泥 32.5","","t",null,429.06]
["10","04030010",null,"细砂","","m3",null,82.48]
["11","04130001",null,"标准砖 240×115×53","","千块",null,338.91]
["12","04130040",null,"蒸压灰砂砖","240×175×115","千块",null,1107.63]
["13","05030080",null,"松杂板枋材","","m3",null,1180.62]
["14","05030110",null,"杂木丁方板 10以外","","m3",null,1605.73]
["15","06530001",null,"玻璃马赛克(各色)","","m2",null,17.71]
["16","11010230-0002",null,"成品木门","","m2",null,{"v":650,"d":"650.00"}]
["17","11260020-0001",null,"遮光卷帘","","m2",null,{"v":75,"d":"75.00"}]
["18","12090050-0001",null,"PVC踢脚线","8mm ","m2",null,{"v":50,"d":"50.00"}]
["19","13010200",null,"环氧底漆","","kg",null,11.05]
["20","13010250",null,"环氧面漆","","kg",null,16.35]
["21","13010260",null,"环氧中层漆","","kg",null,17.95]
["22","13030450",null,"内墙乳胶漆 底漆","","kg",null,{"v":17.5,"d":"17.50"}]
["23","13030460",null,"内墙乳胶漆 面漆","","kg",null,23.24]
["24","13030500",null,"腻子粉 成品(一般型)","","kg",null,2.94]
["25","13050157",null,"聚氨酯防水涂料","单组份 I型","kg",null,15.45]
["26","13050170",null,"聚合物水泥防水涂料 JS-II","","kg",null,12.71]
["27","14090020",null,"光蜡","","kg",null,8.77]
["28","34090010",null,"白棉纱","","kg",null,11.47]
["29","34110010",null,"水","","m3",null,4.58]
["30","80010640",null,"预拌水泥砂浆 1:2.5","","m3",null,401.45]
["31","80010650",null,"预拌水泥砂浆 1:3","","m3",null,356.78]
["32","80010680",null,"预拌水泥砂浆 M7.5","","m3",null,322.66]
[""]
[]
["主要材料设备价格表"]
["工程名称:",null,"环境工程技术一体化实训基地建设项目-环境改造部分（装饰）",{"$nulls":3},"第2页 共2页"]
["序号","材料设备编码",null,"材料设备名称","规格、型号等特殊要求","单位",null,"不含税编制价(元)"]
["33","80050500",null,"预拌水泥石灰砂浆 M7.5","","m3",null,322.66]
["34","80050540",null,"预拌水泥石灰砂浆 1:2:8","","m3",null,356.78]
["35","99450630",null,"折旧费","","元",null,{"v":1,"d":"1.00"}]
["36","99450640",null,"检修费","","元",null,{"v":1,"d":"1.00"}]
["37","99450650",null,"维护费","","元",null,{"v":1,"d":"1.00"}]
["38","99450660",null,"安拆费","","元",null,{"v":1,"d":"1.00"}]
["39","99450670",null,"汽油","(机械用)国Ⅲ93#","kg",null,6.38]
["40","99450700",null,"电","(机械用)","kw·h",null,0.77]
["41","99450760",null,"其他材料费","","元",null,{"v":1,"d":"1.00"}]
["42","ZC-0001",null,"不锈钢门 1.68*2.35","","m2",null,{"v":1355,"d":"1355.00"}]
[""]